## Sheet1
Type of sequence | GE | Siemens | Philips | Hitachi | Toshiba
Spin Echo (SE)
| SE | SE | SE | SE | SE
Multi-echo SE | SE | Multi écho | Multi SE | SE | Multi écho
MS
Fast SE | FSE (Fast SE) | Turbo SE | Turbo SE | FSE | FSE
| FRFSE (Fast-Recovery ) | RESTORE (driven equilibrium)
Ultra fast SE | SS-FSE (Single-Shot FSE) | SSTSE | SSH-TSE | FSE - ADA | (Super)FASE
|  | HASTE (Half-fourier Acquisition Single-shot TSE) | UFSE |  | DIET (Dual-Interval Echo Train)
3D FRFSE | CUBE | SPACE (SPAtial and Chemical shift encoded Excitation)
Type of sequence | GE | Siemens | Philips | Hitachi | Toshiba
Inversion Recovery
| IR | IR/IRM | IR | IR | IR
Fast IR | FSE-IR | TurboIR/TIRM | IR TSE | FIR | Fast IR
Phase-Sensitive IR | PSIR | PSIR
STIR (Short-Tau IR) | STIR | STIR | STIR | STIR | STIR
| Fast STIR | Turbo STIR | STIR TSE | Fast STIR | Fast STIR
FLAIR (FLuid-Attenuated IR) | FLAIR | FLAIR | FLAIR, TIRM | FLAIR | FLAIR
| Fast FLAIR | Turbo FLAIR | FLAIR TSE | Fast FLAIR | Fast FLAIR
Type of sequence | GE | Siemens | Philips | Hitachi | Toshiba
Gradient Echo (GE)
SPOILED
| GRE | GRE | FFE | GE | FE
Spoiled GE | SPGR | FLASH (Fast Low-Angle SHot) | T1-FFE | RSSG | RF-spoiled FE
MPSPGR
Ultrafast GE | FGRE | TurboFLASH | T1-TFE | SARGE (Spoiled Acquisition Rewinded GE) | Fast FE
| Fast SPGR |  | T2-TFE
Multi-Echo 2D GE | MERGE (Multi-Echo Recombined Gradient Echo) | MEDIC (Multi-Echo Data Image Combination)
Fast GE 3D | 3D FGRE, 3D FSPGR | MPRAGE, 3D FLASH |  |  | QUICK 3D
Volume-interpreted GRE | LAVA (Liver Acquisition with Volume Acceleration) | VIBE (3D Volumetric Interpolated Breath-hold Exam) | THRIVE (T1 High-Resolution Isotropic Volume Exam)
FAME (Fast Acquisition with Multi-phase 3D)
VIBRANT (Volume Image BReast Assessement)
Ultrafast GE with magnetization preparation | IR-FSPGR | T1/T2-TurboFLASH | IR-TFE |  | Fast FE
DE-FSPGR
STEADY STATE (SS)
Steady-State Free Precession | MPGR (Multi-Planar GE in steady state) | FISP (Fast-Imaging with Steady state Precession) | FFE (Fast Field Echo) | TRSG | FE
GRASS (Gradient Recalled Acquisition in Steady State)
SS Free Precession-echo (SSFP) | SSFP | PSIF (reverse Fast Imaging with Steady state Precession) | T2-FFE T2 |  | FE
Balanced SSGE (bSSGE) | FIESTA (Fast Imaging Employing Steady sTate Acquistion) | TrueFISP | Balanced FFE | BASG | TrueSSFP
| GE | Siemens | Philips | Hitachi | Toshiba
Imaging Techniques | GE | Siemens | Philips | Hitachi | Toshiba
Periodic radial k-space filling | PROPELLER (Periodically Rotated Overlapping ParallEL Lines with Enhanced Reconstruction) | BLADE
Parallel Imaging | Asset (Array Spatial Sensitivity Encoding Technique) | iPAT (integrated Parallel Acquisition Techniques)
Echo Planar Imaging
SE-Echo planar | SE-EPI | EPI SE | SE EPI | SE EPI | SE EPI
GE-Echo Planar Imaging (EPI) | GRE EPI | EPI Perf | FFE-EPI | SG-EPI | FE-EPI
|  | EPIFI | TFE-EPI
Hybrid-Echo | GRASE | TGSE, TurboGSE | GRASE |  | Hybrid EPI
Time-of-Flight Imaging | TOF | TOF
Phase Constrast | PC | PC
Time-Resolved MRA | TRICKS (Time-Resolved Imaging of Contrast KineticS) | TWIST
Myocardial Delayed Enhancement | MDE/LGE
Sequence Terms | GE | Siemens | Philips | Hitachi | Toshiba
Averages | NEX | Averages
| # of Acquisitions | Concatenations
Slice spacing | Gap | Distance Factor
Echo Train Length | ETL | Turbo Factor
Bandwidth | Receiver Bandwidth (kHz) | Bandwidth (Hz/Px)
| Variable Bandwidth | Optimized Bandwidth
Flow Compensation | Flow Comp | GMR
Velocity Encoding | VENC
|  |  |  | D. Fetzer | 2013-01-17